## 표지
| 담당 | 팀장 | 부장 |  |  | Re3. | 21.07.14
| / | / | /
I/O 체크 리스트
Ver 1.0
| *** 작성 방법 *** 1. Turn On이 완료 된 후 실시 2. 담당자 체크 시 체크 항목에서 OK/NG 표기 3. 관련 내용 및 특이사항 기입 4. 체크 후 첨부해야할 그림이 있으면 첨부 시트를 활용 |  |  | 생산 의뢰 번호 : | 21SSSAHMMP001
|  |  |  | 납 품 처 : | SDC
|  |  |  | 장 비 명 : | HMI
|  |  |  | 장 비 Option : | 점등+AGING
|  |  |  | 작 성 일 : | 22.03.30
|  |  |  | 담 당 자 : | 최 승 현 (인)
★ 경고 : 이 문서는 K-MAC(주)의 허가 없이 타 업체에 임의로 제공 할 수 없습니다.

## IO LIST
B RATE | 2 | [5 empty] | B RATE | 2
INPUT | [6 empty] | OUTPUT
STATION No. | Part No. | 번호 | I/O | Description | I/O Check | 비고 | STATION No. | Part No. | 번호 | I/O | Description | I/O Check | 비고
EQ | [6 empty] | PROFILE
1 | AJ65SBTB1-32D1 | 1 | X1000 | FRONT LEFT (FL) FIXTURE FWD | O |  | 9 | AJ65SBTB1-32T1 | 1 | Y1100 | FRONT FIXTURE FWD | O | 공압배선에 맞춰 배선 수정
|  | 2 | X1001 | FRONT LEFT (FL) FIXTURE REV | O |  |  |  | 2 | Y1101 | RIGHT FIXTURE FWD | O | 공압배선에 맞춰 배선 수정
|  | 3 | X1002 | FRONT RIGHT (FR) FIXTURE FWD | O |  |  |  | 3 | Y1102 | BACK FIXTURE FWD | O | 공압배선에 맞춰 배선 수정
|  | 4 | X1003 | FRONT RIGHT (FR) FIXTURE REV | O |  |  |  | 4 | Y1103 | LEFT FIXTURE FWD | O | 공압배선에 맞춰 배선 수정
|  | 5 | X1004 | RIGHT FRONT (RF) FIXTURE FWD | O |  |  |  | 5 | Y1104 | SPARE
|  | 6 | X1005 | RIGHT FRONT (RF) FIXTURE REV | O |  |  |  | 6 | Y1105 | SPARE
|  | 7 | X1006 | RIGHT BACK (RB) FIXTURE FWD | O |  |  |  | 7 | Y1106 | SAMPLE PLATE BLOWING | O
|  | 8 | X1007 | RIGHT BACK (RB) FIXTURE REV | O |  |  |  | 8 | Y1107 | SPARE
|  | 9 | X1008 | BACK RIGHT (BR) FIXTURE FWD |  |  |  |  | 9 | Y1108 | SAMPLE PLATE VACUUM | O
|  | 10 | X1009 | BACK RIGHT (BR) FIXTURE REV |  |  |  |  | 10 | Y1109 | SPARE
|  | 11 | X100A | BACK LEFT (BL) FIXTURE FWD |  |  |  |  | 11 | Y110A | SHUTTER OPEN | O
|  | 12 | X100B | BACK LEFT (BL) FIXTURE REV |  |  |  |  | 12 | Y110B | SHUTTER CLOSE | O
|  | 13 | X100C | LEFT BACK (LB) FIXTURE FWD |  |  |  |  | 13 | Y110C | SPARE
|  | 14 | X100D | LEFT BACK (LB) FIXTURE REV |  |  |  |  | 14 | Y110D | SPARE
|  | 15 | X100E | LEFT FRONT (LF) FIXTURE FWD |  |  |  |  | 15 | Y110E | SPARE
|  | 16 | X100F | LEFT FRONT (LF) FIXTURE REV |  |  |  |  | 16 | Y110F | SPARE
|  | 17 | X1010 | LIFT PIN GLASS CHECK 01 |  |  |  |  | 17 | Y1110 | FIXTURE UP | O
|  | 18 | X1011 | SAMPLE PLATE GLASS CHECK 01 |  |  |  |  | 18 | Y1111 | SPARE
|  | 19 | X1012 | LIFT PIN DOWN |  |  |  |  | 19 | Y1112 | SIGNAL TOWER RED | O
|  | 20 | X1013 | LIFT PIN UP |  |  |  |  | 20 | Y1113 | SIGNAL TOWER YELLOW | O
|  | 21 | X1014 | X0-UNLOADING POSITION (HEAD GANTRY 1) |  |  |  |  | 21 | Y1114 | SIGNAL TOWER GREEN | O
|  | 22 | X1015 | X2-UNLOADING POSITION (HEAD GANTRY 2) |  |  |  |  | 22 | Y1115 | SPARE
|  | 23 | X1016 | SP_X-UNLOADING POSITION (SAMPLE PLATE) |  |  |  |  | 23 | Y1116 | SIGNAL TOWER BUZZER 01 | O
|  | 24 | X1017 | [5 empty] | 24 | Y1117 | SPARE
|  | 25 | X1018 | [5 empty] | 25 | Y1118 | VOICE BUZZER CH1 ON | O
|  | 26 | X1019 | [5 empty] | 26 | Y1119 | VOICE BUZZER CH2 ON | O
|  | 27 | X101A | [5 empty] | 27 | Y111A | VOICE BUZZER CH3 ON | O
|  | 28 | X101B | SP_X-ROTATION POSSIBLE AREA_(PROBE ALL CONTACT POSITION) |  |  |  |  | 28 | Y111B | VOICE BUZZER CH4 ON | O
|  | 29 | X101C | SP_X SAFETY POSITION |  |  |  |  | 29 | Y111C | SPARE
|  | 30 | X101D | [5 empty] | 30 | Y111D | SPARE
|  | 31 | X101E | [5 empty] | 31 | Y111E | SPARE
|  | 32 | X101F | [5 empty] | 32 | Y111F | SPARE
EQ | [6 empty] | PROFILE
2 | AJ65SBTB1-32D1 | 33 | X1020 | FRONT LEFT (UFL) FIXTURE UP |  |  | 10 | AJ65SBTB1-32T1 | 33 | Y1120 | PROBE CARD ZERO POSITION 01 UNLOCK | O
|  | 34 | X1021 | FRONT LEFT (UFL) FIXTURE DOWN |  |  |  |  | 34 | Y1121 | PROBE CARD ZERO POSITION 02 UNLOCK | O
|  | 35 | X1022 | FRONT RIGHT (UFR) FIXTURE UP |  |  |  |  | 35 | Y1122 | PROBE CARD ZERO POSITION 03 UNLOCK | O
|  | 36 | X1023 | FRONT RIGHT (UFR) FIXTURE DOWN |  |  |  |  | 36 | Y1123 | PROBE CARD ZERO POSITION 04 UNLOCK | O
|  | 37 | X1024 | RIGHT FRONT (URF) FIXTURE UP |  |  |  |  | 37 | Y1124 | PROBE CARD ZERO POSITION 05 UNLOCK | O
|  | 38 | X1025 | RIGHT FRONT (URF) FIXTURE DOWN |  |  |  |  | 38 | Y1125 | SPARE
|  | 39 | X1026 | RIGHT BACK (URB) FIXTURE UP |  |  |  |  | 39 | Y1126 | PROBE CARD PCB LOCK 01 | O
|  | 40 | X1027 | RIGHT BACK (URB) FIXTURE DOWN |  |  |  |  | 40 | Y1127 | PROBE CARD PCB UNLOCK 01 | O
|  | 41 | X1028 | BACK RIGHT (UBR) FIXTURE UP |  |  |  |  | 41 | Y1128 | PROBE CARD PCB LOCK 02 | O
|  | 42 | X1029 | BACK RIGHT (UBR) FIXTURE DOWN |  |  |  |  | 42 | Y1129 | PROBE CARD PCB UNLOCK 02 | O
|  | 43 | X102A | BACK LEFT (UBL) FIXTURE UP |  |  |  |  | 43 | Y112A | PROBE CARD PCB LOCK 03 | O
|  | 44 | X102B | BACK LEFT (UBL) FIXTURE DOWN |  |  |  |  | 44 | Y112B | PROBE CARD PCB UNLOCK 03 | O
|  | 45 | X102C | LEFT BACK (ULB) FIXTURE UP |  |  |  |  | 45 | Y112C | PROBE CARD PCB LOCK 04 | O
|  | 46 | X102D | LEFT BACK (ULB) FIXTURE DOWN |  |  |  |  | 46 | Y112D | PROBE CARD PCB UNLOCK 04 | O
|  | 47 | X102E | LEFT FRONT (ULF) FIXTURE UP |  |  |  |  | 47 | Y112E | PROBE CARD PCB LOCK 05 | O
|  | 48 | X102F | LEFT FRONT (ULF) FIXTURE DOWN |  |  |  |  | 48 | Y112F | PROBE CARD PCB UNLOCK 05 | O
|  | 49 | X1030 | ISOLATOR (FL) POSITION NORMAL |  | B접 / Normal Close |  |  | 49 | Y1130 | PROBE CARD SAFETY CLAMP ON 01 | O
|  | 50 | X1031 | ISOLATOR (FR) POSITION NORMAL |  | B접 / Normal Close |  |  | 50 | Y1131 | PROBE CARD SAFETY CLAMP OFF 01 | O
|  | 51 | X1032 | ISOLATOR (BR) POSITION NORMAL |  | B접 / Normal Close |  |  | 51 | Y1132 | PROBE CARD SAFETY CLAMP ON 02 | O
|  | 52 | X1033 | ISOLATOR (BL) POSITION NORMAL |  | B접 / Normal Close |  |  | 52 | Y1133 | PROBE CARD SAFETY CLAMP OFF 02 | O
|  | 53 | X1034 | R0 POSITION 01 (0 degree POS.) |  |  |  |  | 53 | Y1134 | PROBE CARD SAFETY CLAMP ON 03 | O
|  | 54 | X1035 | R0 POSITION 02 (90 degree POS.) |  |  |  |  | 54 | Y1135 | PROBE CARD SAFETY CLAMP OFF 03 | O
|  | 55 | X1036 | R0 POSITION 03 (180 degree POS.) |  |  |  |  | 55 | Y1136 | PROBE CARD SAFETY CLAMP ON 04 | O
|  | 56 | X1037 | R0 POSITION 04 (270 degree POS.) |  |  |  |  | 56 | Y1137 | PROBE CARD SAFETY CLAMP OFF 04 | O
|  | 57 | X1038 | UZ0 PROBE CARD CHECK 01 (LEFT) |  |  |  |  | 57 | Y1138 | PROBE CARD SAFETY CLAMP ON 05 | O
|  | 58 | X1039 | UZ0 PROBE CARD CHECK 02 (LEFT) |  |  |  |  | 58 | Y1139 | PROBE CARD SAFETY CLAMP OFF 05 | O
|  | 59 | X103A | UZ0 PROBE CARD CHECK 03 (RIGHT) |  |  |  |  | 59 | Y113A | SPARE
|  | 60 | X103B | UZ0 PROBE CARD CHECK 04 (RIGHT) |  |  |  |  | 60 | Y113B | SPARE
|  | 61 | X103C | UZ2 PROBE CARD CHECK 01 (LEFT) |  |  |  |  | 61 | Y113C | SPARE
|  | 62 | X103D | UZ2 PROBE CARD CHECK 02 (LEFT) |  |  |  |  | 62 | Y113D | SPARE
|  | 63 | X103E | UZ2 PROBE CARD CHECK 03 (RIGHT) |  |  |  |  | 63 | Y113E | X-RAY IONIZER SIGN ON | O
|  | 64 | X103F | UZ2 PROBE CARD CHECK 04 (RIGHT) |  |  |  |  | 64 | Y113F | SPARE
EQ | [6 empty] | PC-BOX
3 | AJ65SBTB1-32D1 | 65 | X1040 | UZ4 PROBE CARD CHECK 01 (LEFT) |  |  | 11 | AJ65SBTB1-32T1 | 65 | Y1140 | BUZZER ON | O
|  | 66 | X1041 | UZ4 PROBE CARD CHECK 02 (LEFT) |  |  |  |  | 66 | Y1141 | SPARE
|  | 67 | X1042 | UZ4 PROBE CARD CHECK 03 (RIGHT) |  |  |  |  | 67 | Y1142 | X-RAY IONIZER 01 REMOTE ON (RMT-ON) | O
|  | 68 | X1043 | UZ4 PROBE CARD CHECK 04 (RIGHT) |  |  |  |  | 68 | Y1143 | X-RAY IONIZER 01 INTERLOCK (INT-ON) | O
|  | 69 | X1044 | UZ6 PROBE CARD CHECK 01 (LEFT) |  |  |  |  | 69 | Y1144 | SPARE
|  | 70 | X1045 | UZ6 PROBE CARD CHECK 02 (LEFT) |  |  |  |  | 70 | Y1145 | SPARE
|  | 71 | X1046 | UZ6 PROBE CARD CHECK 03 (RIGHT) |  |  |  |  | 71 | Y1146 | SPARE
|  | 72 | X1047 | UZ6 PROBE CARD CHECK 04 (RIGHT) |  |  |  |  | 72 | Y1147 | SPARE
|  | 73 | X1048 | UZ8 PROBE CARD CHECK 01 (LEFT) |  |  |  |  | 73 | Y1148 | SPARE
|  | 74 | X1049 | UZ8 PROBE CARD CHECK 02 (LEFT) |  |  |  |  | 74 | Y1149 | SPARE
|  | 75 | X104A | UZ8 PROBE CARD CHECK 03 (RIGHT) |  |  |  |  | 75 | Y114A | SPARE
|  | 76 | X104B | UZ8 PROBE CARD CHECK 04 (RIGHT) |  |  |  |  | 76 | Y114B | SPARE
|  | 77 | X104C | PROBE GANTRY 1 PROBE CARD PCB LOCK 01 CHECK (LEFT) |  |  |  |  | 77 | Y114C | SPARE
|  | 78 | X104D | PROBE GANTRY 1 PROBE CARD PCB UNLOCK 01 CHECK (LEFT) |  |  |  |  | 78 | Y114D | SPARE
|  | 79 | X104E | PROBE GANTRY 1 PROBE CARD PCB LOCK 02 CHECK (RIGHT) |  |  |  |  | 79 | Y114E | SPARE
|  | 80 | X104F | PROBE GANTRY 1 PROBE CARD PCB UNLOCK 02 CHECK (RIGHT) |  |  |  |  | 80 | Y114F | SPARE
|  | 81 | X1050 | PROBE GANTRY 2 PROBE CARD PCB LOCK 01 CHECK (LEFT) |  |  |  |  | 81 | Y1150 | SPARE
|  | 82 | X1051 | PROBE GANTRY 2 PROBE CARD PCB UNLOCK 01 CHECK (LEFT) |  |  |  |  | 82 | Y1151 | SPARE
|  | 83 | X1052 | PROBE GANTRY 2 PROBE CARD PCB LOCK 02 CHECK (RIGHT) |  |  |  |  | 83 | Y1152 | SPARE
|  | 84 | X1053 | PROBE GANTRY 2 PROBE CARD PCB UNLOCK 02 CHECK (RIGHT) |  |  |  |  | 84 | Y1153 | SPARE
|  | 85 | X1054 | PROBE GANTRY 3 PROBE CARD PCB LOCK 01 CHECK (LEFT) |  |  |  |  | 85 | Y1154 | SPARE
|  | 86 | X1055 | PROBE GANTRY 3 PROBE CARD PCB UNLOCK 01 CHECK (LEFT) |  |  |  |  | 86 | Y1155 | SPARE
|  | 87 | X1056 | PROBE GANTRY 3 PROBE CARD PCB LOCK 02 CHECK (RIGHT) |  |  |  |  | 87 | Y1156 | SPARE
|  | 88 | X1057 | PROBE GANTRY 3 PROBE CARD PCB UNLOCK 02 CHECK (RIGHT) |  |  |  |  | 88 | Y1157 | SPARE
|  | 89 | X1058 | PROBE GANTRY 4 PROBE CARD PCB LOCK 01 CHECK (LEFT) |  |  |  |  | 89 | Y1158 | SPARE
|  | 90 | X1059 | PROBE GANTRY 4 PROBE CARD PCB UNLOCK 01 CHECK (LEFT) |  |  |  |  | 90 | Y1159 | SPARE
|  | 91 | X105A | PROBE GANTRY 4 PROBE CARD PCB LOCK 02 CHECK (RIGHT) |  |  |  |  | 91 | Y115A | SPARE
|  | 92 | X105B | PROBE GANTRY 4 PROBE CARD PCB UNLOCK 02 CHECK (RIGHT) |  |  |  |  | 92 | Y115B | SPARE
|  | 93 | X105C | PROBE GANTRY 5 PROBE CARD PCB LOCK 01 CHECK (LEFT) |  |  |  |  | 93 | Y115C | SPARE
|  | 94 | X105D | PROBE GANTRY 5 PROBE CARD PCB UNLOCK 01 CHECK (LEFT) |  |  |  |  | 94 | Y115D | SPARE
|  | 95 | X105E | PROBE GANTRY 5 PROBE CARD PCB LOCK 02 CHECK (RIGHT) |  |  |  |  | 95 | Y115E | SPARE
|  | 96 | X105F | PROBE GANTRY 5 PROBE CARD PCB UNLOCK 02 CHECK (RIGHT) |  |  |  |  | 96 | Y115F | SPARE
EQ | [6 empty] | E-BOX
4 | AJ65SBTB1-32D1 | 97 | X1060 | PROBE GANTRY 1 PROBE CARD SAFETY CLAMP ON 01 (LEFT) |  |  | 12 | AJ65SBTB1-32T1 | 97 | Y1160 | CCD 01 ON (VISION HEAD 1)
|  | 98 | X1061 | PROBE GANTRY 1 PROBE CARD SAFETY CLAMP OFF 01 (LEFT) |  |  |  |  | 98 | Y1161 | CCD 02 ON (VISION HEAD 2)
|  | 99 | X1062 | PROBE GANTRY 1 PROBE CARD SAFETY CLAMP ON 02 (RIGHT) |  |  |  |  | 99 | Y1162 | CCD 03 ON (VIEWING ANGLE HEAD 1)
|  | 100 | X1063 | PROBE GANTRY 1 PROBE CARD SAFETY CLAMP OFF 02 (RIGHT) |  |  |  |  | 100 | Y1163 | CCD 04 ON (VIEWING ANGLE HEAD 2)
|  | 101 | X1064 | PROBE GANTRY 2 PROBE CARD SAFETY CLAMP ON 01 (LEFT) |  |  |  |  | 101 | Y1164 | SPARE
|  | 102 | X1065 | PROBE GANTRY 2 PROBE CARD SAFETY CLAMP OFF 01 (LEFT) |  |  |  |  | 102 | Y1165 | RPT MULTI TAP 1 ON
|  | 103 | X1066 | PROBE GANTRY 2 PROBE CARD SAFETY CLAMP ON 02 (RIGHT) |  |  |  |  | 103 | Y1166 | RPT MULTI TAP 2 ON
|  | 104 | X1067 | PROBE GANTRY 2 PROBE CARD SAFETY CLAMP OFF 02 (RIGHT) |  |  |  |  | 104 | Y1167 | RPT MULTI TAP 3 ON
|  | 105 | X1068 | PROBE GANTRY 3 PROBE CARD SAFETY CLAMP ON 01 (LEFT) |  |  |  |  | 105 | Y1168 | RPT MULTI TAP 4 ON
|  | 106 | X1069 | PROBE GANTRY 3 PROBE CARD SAFETY CLAMP OFF 01 (LEFT) |  |  |  |  | 106 | Y1169 | TSP B/D 1~5 MULTI TAP OFF
|  | 107 | X106A | PROBE GANTRY 3 PROBE CARD SAFETY CLAMP ON 02 (RIGHT) |  |  |  |  | 107 | Y116A | TSP B/D 6~10 MULTI TAP OFF
|  | 108 | X106B | PROBE GANTRY 3 PROBE CARD SAFETY CLAMP OFF 02 (RIGHT) |  |  |  |  | 108 | Y116B | SPARE
|  | 109 | X106C | PROBE GANTRY 4 PROBE CARD SAFETY CLAMP ON 01 (LEFT) |  |  |  |  | 109 | Y116C | SELECT KEY LOCK
|  | 110 | X106D | PROBE GANTRY 4 PROBE CARD SAFETY CLAMP OFF 01 (LEFT) |  |  |  |  | 110 | Y116D | SACC SELECT KEY LOCK
|  | 111 | X106E | PROBE GANTRY 4 PROBE CARD SAFETY CLAMP ON 02 (RIGHT) |  |  |  |  | 111 | Y116E | EQ DOOR UNLOCK
|  | 112 | X106F | PROBE GANTRY 4 PROBE CARD SAFETY CLAMP OFF 02 (RIGHT) |  |  |  |  | 112 | Y116F | SACC DOOR UNLOCK
|  | 113 | X1070 | PROBE GANTRY 5 PROBE CARD SAFETY CLAMP ON 01 (LEFT) |  |  |  |  | 113 | Y1170 | ACS MOTION INTERLOCK 1
|  | 114 | X1071 | PROBE GANTRY 5 PROBE CARD SAFETY CLAMP OFF 01 (LEFT) |  |  |  |  | 114 | Y1171 | ACS MOTION INTERLOCK 2
|  | 115 | X1072 | PROBE GANTRY 5 PROBE CARD SAFETY CLAMP ON 02 (RIGHT) |  |  |  |  | 115 | Y1172 | ACS MOTION INTERLOCK 3
|  | 116 | X1073 | PROBE GANTRY 5 PROBE CARD SAFETY CLAMP OFF 02 (RIGHT) |  |  |  |  | 116 | Y1173 | ACS MOTION INTERLOCK 4
|  | 117 | X1074 | AC_X PUT/GET POS.(From/To UNIT Z) |  |  |  |  | 117 | Y1174 | ACS MOTION INTERLOCK 5
|  | 118 | X1075 | [5 empty] | 118 | Y1175 | ACS MOTION INTERLOCK 6
|  | 119 | X1076 | AC_X PUT/GET POS.(From/To SACC) |  |  |  |  | 119 | Y1176 | ACS MOTION INTERLOCK 7
|  | 120 | X1077 | [5 empty] | 120 | Y1177 | ACS MOTION INTERLOCK 8
|  | 121 | X1078 | UZ0 AUTO CHANGE ARM CONTACT(UP) |  |  |  |  | 121 | Y1178 | GLASS SENSOR POWER ON
|  | 122 | X1079 | [5 empty] | 122 | Y1179 | SPARE
|  | 123 | X107A | [5 empty] | 123 | Y117A | PSI POWER SUPPLY 01 POWER OFF |  | 26.06.18
|  | 124 | X107B | UZ0 GLASS PRECONTACT(DOWN) |  |  |  |  | 124 | Y117B | PSI POWER SUPPLY 02 POWER OFF |  | 26.06.18
|  | 125 | X107C | UZ2 AUTO CHANGE ARM CONTACT(UP) |  |  |  |  | 125 | Y117C | SR 152 ON (INNER EMO PUSH_MAINT. LED ON)
|  | 126 | X107D | [5 empty] | 126 | Y117D | SR51 ON (CIM MUTING OUTPUT)
|  | 127 | X107E | [5 empty] | 127 | Y117E | INTERLOCK SR 150 ON (Abnormal Arm Detect)
|  | 128 | X107F | UZ2 GLASS PRECONTACT(DOWN) |  |  |  |  | 128 | Y117F | MAINTENANCE LED OFF
EQ | [6 empty] | E-BOX
5 | AJ65SBTB1-32D1 | 129 | X1080 | UZ4 AUTO CHANGE ARM CONTACT(UP) |  |  | 13 | AJ65SBTB2N-16R | 129 | Y1180 | SPARE
|  | 130 | X1081 | [5 empty] | 130 | Y1181 | SPARE
|  | 131 | X1082 | [5 empty] | 131 | Y1182 | SPARE
|  | 132 | X1083 | UZ4 GLASS PRECONTACT(DOWN) |  |  |  |  | 132 | Y1183 | SPARE
|  | 133 | X1084 | UZ6 AUTO CHANGE ARM CONTACT(UP) |  |  |  |  | 133 | Y1184 | SPARE
|  | 134 | X1085 | [5 empty] | 134 | Y1185 | SPARE
|  | 135 | X1086 | [5 empty] | 135 | Y1186 | SPARE
|  | 136 | X1087 | UZ6 GLASS PRECONTACT(DOWN) |  |  |  |  | 136 | Y1187 | SPARE
|  | 137 | X1088 | UZ8 AUTO CHANGE ARM CONTACT(UP) |  |  |  |  | 137 | Y1188 | ALIVE
|  | 138 | X1089 | [5 empty] | 138 | Y1189 | EMERGENCY
|  | 139 | X108A | [5 empty] | 139 | Y118A | NET-READY
|  | 140 | X108B | UZ8 GLASS PRECONTACT(DOWN) |  |  |  |  | 140 | Y118B | RESERVED
|  | 141 | X108C | TRANSFER(AUTO CHANGE Z0) PROBE CARD CHECK 01 |  |  |  |  | 141 | Y118C | INTERACTIVE #1
|  | 142 | X108D | [5 empty] | 142 | Y118D | INTERACTIVE #2
|  | 143 | X108E | TRANSFER(AUTO CHANGE Z1) PROBE CARD CHECK 01 |  |  |  |  | 143 | Y118E | RESERVED
|  | 144 | X108F | [5 empty] | 144 | Y118F | SUB-EMS
|  | 145 | X1090 | [5 empty] | 145 | Y1190 | SPARE
|  | 146 | X1091 | TRANSFER(AUTO CHANGE Z0) DOWN 01 |  |  |  |  | 146 | Y1191 | SPARE
|  | 147 | X1092 | [5 empty] | 147 | Y1192 | SPARE
|  | 148 | X1093 | TRANSFER(AUTO CHANGE Z1) DOWN 02 |  |  |  |  | 148 | Y1193 | SPARE
|  | 149 | X1094 | TEMP. INDICATOR 06 OVER (I/O PANEL) |  | B접 / Normal Close |  |  | 149 | Y1194 | SPARE
|  | 150 | X1095 | TEMP. INDICATOR 08 OVER (PG-BOX_RIGHT) |  | B접 / Normal Close |  |  | 150 | Y1195 | SPARE
|  | 151 | X1096 | TEMP. INDICATOR 10 OVER (PC_PROFILE RIGHT 1) |  | B접 / Normal Close |  |  | 151 | Y1196 | SPARE
|  | 152 | X1097 | TEMP. INDICATOR 11 OVER (PC_PROFILE RIGHT 2) |  | B접 / Normal Close |  |  | 152 | Y1197 | SPARE
|  | 153 | X1098 | SMOKE DETECT 06 (I/O PANEL) |  | B접 / Normal Close |  |  | 153 | Y1198 | SPARE
|  | 154 | X1099 | SMOKE DETECT 08 (PG-BOX_RIGHT) |  | B접 / Normal Close |  |  | 154 | Y1199 | SPARE
|  | 155 | X109A | SMOKE DETECT 10 (PC_PROFILE RIGHT 1) |  | B접 / Normal Close |  |  | 155 | Y119A | SPARE
|  | 156 | X109B | SMOKE DETECT 11 (PC_PROFILE RIGHT 2) |  | B접 / Normal Close |  |  | 156 | Y119B | SPARE
|  | 157 | X109C | TEMP. ALARM RESET SWITCH PUSH (I/O PANEL) |  |  |  |  | 157 | Y119C | SPARE
|  | 158 | X109D | TEMP. ALARM RESET SWITCH PUSH (PG-BOX_RIGHT) |  |  |  |  | 158 | Y119D | SPARE
|  | 159 | X109E | TEMP. ALARM RESET SWITCH PUSH (PC_PROFILE RIGHT 1) |  |  |  |  | 159 | Y119E | SPARE
|  | 160 | X109F | TEMP. ALARM RESET SWITCH PUSH (PC_PROFILE RIGHT 2) |  |  |  |  | 160 | Y119F | SPARE
PROFILE | [6 empty] | ST. No. INPUT 사용
6 | AJ65SBTB1-32D1 | 161 | X10A0 | EFU ALARM |  | B접 / Normal Close | 14 |  | 161 | Y11A0 | SPARE
|  | 162 | X10A1 | [5 empty] | 162 | Y11A1 | SPARE
|  | 163 | X10A2 | [5 empty] | 163 | Y11A2 | SPARE
|  | 164 | X10A3 | [5 empty] | 164 | Y11A3 | SPARE
|  | 165 | X10A4 | SHUTTER OPEN |  |  |  |  | 165 | Y11A4 | SPARE
|  | 166 | X10A5 | SHUTTER CLOSE |  |  |  |  | 166 | Y11A5 | SPARE
|  | 167 | X10A6 | INNER MODE KEY SWITCH AUTO 01 |  |  |  |  | 167 | Y11A6 | SPARE
|  | 168 | X10A7 | INNER MODE KEY SWITCH AUTO 02 |  |  |  |  | 168 | Y11A7 | SPARE
|  | 169 | X10A8 | INNER MODE KEY SWITCH AUTO 03 |  |  |  |  | 169 | Y11A8 | SPARE
|  | 170 | X10A9 | INNER MODE KEY SWITCH AUTO 04 |  |  |  |  | 170 | Y11A9 | SPARE
|  | 171 | X10AA | INNER MODE KEY SWITCH AUTO 05 |  |  |  |  | 171 | Y11AA | SPARE
|  | 172 | X10AB | [5 empty] | 172 | Y11AB | SPARE
|  | 173 | X10AC | TEMP. INDICATOR 07 OVER (P/N PANEL) |  | B접 / Normal Close |  |  | 173 | Y11AC | SPARE
|  | 174 | X10AD | TEMP. INDICATOR 09 OVER (PG-BOX_LEFT) |  | B접 / Normal Close |  |  | 174 | Y11AD | SPARE
|  | 175 | X10AE | TEMP. INDICATOR 12 OVER (PC_PROFILE LEFT 1) |  | B접 / Normal Close |  |  | 175 | Y11AE | SPARE
|  | 176 | X10AF | TEMP. INDICATOR 13 OVER (PC_PROFILE LEFT 2) |  | B접 / Normal Close |  |  | 176 | Y11AF | SPARE
|  | 177 | X10B0 | DOOR 01 KEY UNREMOVED (LEFT FRONT) |  |  |  |  | 177 | Y11B0 | SPARE
|  | 178 | X10B1 | DOOR 02 KEY UNREMOVED (RIGHT FRONT) |  |  |  |  | 178 | Y11B1 | SPARE
|  | 179 | X10B2 | DOOR 03 KEY UNREMOVED (RIGHT BACK) |  |  |  |  | 179 | Y11B2 | SPARE
|  | 180 | X10B3 | DOOR 04 KEY UNREMOVED (LEFT BACK) |  |  |  |  | 180 | Y11B3 | SPARE
|  | 181 | X10B4 | DOOR 05 KEY UNREMOVED (SACC) |  |  |  |  | 181 | Y11B4 | SPARE
|  | 182 | X10B5 | [5 empty] | 182 | Y11B5 | SPARE
|  | 183 | X10B6 | [5 empty] | 183 | Y11B6 | SPARE
|  | 184 | X10B7 | [5 empty] | 184 | Y11B7 | SPARE
|  | 185 | X10B8 | SMOKE DETECT 07 (P/N PANEL) |  | B접 / Normal Close |  |  | 185 | Y11B8 | SPARE
|  | 186 | X10B9 | SMOKE DETECT 09 (PG-BOX_LEFT) |  | B접 / Normal Close |  |  | 186 | Y11B9 | SPARE
|  | 187 | X10BA | SMOKE DETECT 12 (PC_PROFILE LEFT 1) |  | B접 / Normal Close |  |  | 187 | Y11BA | SPARE
|  | 188 | X10BB | SMOKE DETECT 13 (PC_PROFILE LEFT 2) |  | B접 / Normal Close |  |  | 188 | Y11BB | SPARE
|  | 189 | X10BC | TEMP. ALARM RESET SWITCH PUSH (P/N PANEL) |  |  |  |  | 189 | Y11BC | SPARE
|  | 190 | X10BD | TEMP. ALARM RESET SWITCH PUSH (PG-BOX_LEFT) |  |  |  |  | 190 | Y11BD | SPARE
|  | 191 | X10BE | TEMP. ALARM RESET SWITCH PUSH (PC_PROFILE LEFT 1) |  |  |  |  | 191 | Y11BE | SPARE
|  | 192 | X10BF | TEMP. ALARM RESET SWITCH PUSH (PC_PROFILE LEFT 2) |  |  |  |  | 192 | Y11BF | SPARE
PROFILE | [6 empty] | ST. No. INPUT 사용
7 | AJ65SBTB1-32D1 | 193 | X10C0 | CDA PRESSURE SWITCH 01 |  |  | 15 |  | 193 | Y11C0 | SPARE
|  | 194 | X10C1 | CDA PRESSURE SWITCH 02 |  |  |  |  | 194 | Y11C1 | SPARE
|  | 195 | X10C2 | CDA PRESSURE SWITCH 03 |  |  |  |  | 195 | Y11C2 | SPARE
|  | 196 | X10C3 | [5 empty] | 196 | Y11C3 | SPARE
|  | 197 | X10C4 | VACUUM PRESSURE SWITCH 01 |  |  |  |  | 197 | Y11C4 | SPARE
|  | 198 | X10C5 | [5 empty] | 198 | Y11C5 | SPARE
|  | 199 | X10C6 | PRESSURE SWITCH 01_FIXTURE1 |  |  |  |  | 199 | Y11C6 | SPARE
|  | 200 | X10C7 | PRESSURE SWITCH 02_FIXTURE2 |  |  |  |  | 200 | Y11C7 | SPARE
|  | 201 | X10C8 | PRESSURE SWITCH 03_ISOLATOR 1 |  |  |  |  | 201 | Y11C8 | SPARE
|  | 202 | X10C9 | PRESSURE SWITCH 04_ISOLATOR 2 |  |  |  |  | 202 | Y11C9 | SPARE
|  | 203 | X10CA | PRESSURE SWITCH 05_SHUTTER |  |  |  |  | 203 | Y11CA | SPARE
|  | 204 | X10CB | PRESSURE SWITCH 06_SACC |  |  |  |  | 204 | Y11CB | SPARE
|  | 205 | X10CC | [5 empty] | 205 | Y11CC | SPARE
|  | 206 | X10CD | [5 empty] | 206 | Y11CD | SPARE
|  | 207 | X10CE | [5 empty] | 207 | Y11CE | SPARE
|  | 208 | X10CF | [5 empty] | 208 | Y11CF | SPARE
|  | 209 | X10D0 | PROBE CARD ZERO POSITION 01 UNLOCK |  |  |  |  | 209 | Y11D0 | SPARE
|  | 210 | X10D1 | PROBE CARD ZERO POSITION 02 UNLOCK |  |  |  |  | 210 | Y11D1 | SPARE
|  | 211 | X10D2 | PROBE CARD ZERO POSITION 03 UNLOCK |  |  |  |  | 211 | Y11D2 | SPARE
|  | 212 | X10D3 | PROBE CARD ZERO POSITION 04 UNLOCK |  |  |  |  | 212 | Y11D3 | SPARE
|  | 213 | X10D4 | PROBE CARD ZERO POSITION 05 UNLOCK |  |  |  |  | 213 | Y11D4 | SPARE
|  | 214 | X10D5 | [5 empty] | 214 | Y11D5 | SPARE
|  | 215 | X10D6 | [5 empty] | 215 | Y11D6 | SPARE
|  | 216 | X10D7 | [5 empty] | 216 | Y11D7 | SPARE
|  | 217 | X10D8 | [5 empty] | 217 | Y11D8 | SPARE
|  | 218 | X10D9 | [5 empty] | 218 | Y11D9 | SPARE
|  | 219 | X10DA | PRESSURE SWITCH 07_PROBE MODULE 1 |  |  |  |  | 219 | Y11DA | SPARE
|  | 220 | X10DB | PRESSURE SWITCH 08_PROBE MODULE 2 |  |  |  |  | 220 | Y11DB | SPARE
|  | 221 | X10DC | PRESSURE SWITCH 09_PROBE MODULE 3 |  |  |  |  | 221 | Y11DC | SPARE
|  | 222 | X10DD | PRESSURE SWITCH 10_PROBE MODULE 4 |  |  |  |  | 222 | Y11DD | SPARE
|  | 223 | X10DE | PRESSURE SWITCH 11_PROBE MODULE 5 |  |  |  |  | 223 | Y11DE | SPARE
|  | 224 | X10DF | [5 empty] | 224 | Y11DF | SPARE
PC-BOX | [6 empty] | ST. No. INPUT 사용
8 | AJ65SBTB1-32D1 | 225 | X10E0 | TEMP. INDICATOR 03 OVER (PC BOX) |  | B접 / Normal Close | 16 |  | 225 | Y11E0 | SPARE
|  | 226 | X10E1 | TEMP. INDICATOR 04 OVER (PC E-BOX FRONT) |  | B접 / Normal Close |  |  | 226 | Y11E1 | SPARE
|  | 227 | X10E2 | TEMP. INDICATOR 05 OVER (PC E-BOX REAR) |  | B접 / Normal Close |  |  | 227 | Y11E2 | SPARE
|  | 228 | X10E3 | SOUND OFF SWITCH PUSH |  |  |  |  | 228 | Y11E3 | SPARE
|  | 229 | X10E4 | X-RAY IONIZER 01 REMOTE ON (RE-N.O) |  |  |  |  | 229 | Y11E4 | SPARE
|  | 230 | X10E5 | X-RAY IONIZER 01 INTERLOCK ON (IN-N.O) |  |  |  |  | 230 | Y11E5 | SPARE
|  | 231 | X10E6 | X-RAY IONIZER 01 POWER ON (POW-N.O) |  |  |  |  | 231 | Y11E6 | SPARE
|  | 232 | X10E7 | X-RAY IONIZER 01 HEAD OVERTIME (HEAD-N.O) |  |  |  |  | 232 | Y11E7 | SPARE
|  | 233 | X10E8 | X-RAY IONIZER 01 ALARM (AL-N.C) |  | B접 / Normal Close |  |  | 233 | Y11E8 | SPARE
|  | 234 | X10E9 | [5 empty] | 234 | Y11E9 | SPARE
|  | 235 | X10EA | PC-BOX FRONT DOOR OPEN |  |  |  |  | 235 | Y11EA | SPARE
|  | 236 | X10EB | PC-BOX REAR DOOR OPEN |  |  |  |  | 236 | Y11EB | SPARE
|  | 237 | X10EC | PC-BOX FAN(배기_L) 1~12 ON |  |  |  |  | 237 | Y11EC | SPARE
|  | 238 | X10ED | PC-BOX FAN(배기_R) 13~24 ON |  |  |  |  | 238 | Y11ED | SPARE
|  | 239 | X10EE | PRESSURE SWITCH 06_SAMPLE PLATE |  |  |  |  | 239 | Y11EE | SPARE
|  | 240 | X10EF | [5 empty] | 240 | Y11EF | SPARE
|  | 241 | X10F0 | PC E-BOX FAN 01 ON |  |  |  |  | 241 | Y11F0 | SPARE
|  | 242 | X10F1 | PC E-BOX FAN 02 ON |  |  |  |  | 242 | Y11F1 | SPARE
|  | 243 | X10F2 | PC E-BOX FAN 03 ON |  |  |  |  | 243 | Y11F2 | SPARE
|  | 244 | X10F3 | PC E-BOX FAN 04 ON |  |  |  |  | 244 | Y11F3 | SPARE
|  | 245 | X10F4 | TEMP. ALARM RESET SWITCH PUSH (PC BOX) |  |  |  |  | 245 | Y11F4 | SPARE
|  | 246 | X10F5 | TEMP. ALARM RESET SWITCH PUSH (PC E-BOX FONT) |  |  |  |  | 246 | Y11F5 | SPARE
|  | 247 | X10F6 | TEMP. ALARM RESET SWITCH PUSH (PC E-BOX REAR) |  |  |  |  | 247 | Y11F6 | SPARE
|  | 248 | X10F7 | [5 empty] | 248 | Y11F7 | SPARE
|  | 249 | X10F8 | SMOKE DETECT 03 (PC BOX) |  | B접 / Normal Close |  |  | 249 | Y11F8 | SPARE
|  | 250 | X10F9 | SMOKE DETECT 04 (PC E-BOX FRONT) |  | B접 / Normal Close |  |  | 250 | Y11F9 | SPARE
|  | 251 | X10FA | SMOKE DETECT 05 (PC E-BOX REAR) |  | B접 / Normal Close |  |  | 251 | Y11FA | SPARE
|  | 252 | X10FB | [5 empty] | 252 | Y11FB | SPARE
|  | 253 | X10FC | [5 empty] | 253 | Y11FC | SPARE
|  | 254 | X10FD | [5 empty] | 254 | Y11FD | SPARE
|  | 255 | X10FE | [5 empty] | 255 | Y11FE | SPARE
|  | 256 | X10FF | [5 empty] | 256 | Y11FF | SPARE
E-BOX | [6 empty] | ST. No. SACC 사용
14 | AJ65SBTB1-32D1 | 259 | X11A0 | MC 101 ON (EQ MOTION) |  |  | 17 |  | 225 | Y11E0 | SPARE
|  | 260 | X11A1 | MC 102 ON (EQ MOTION) |  |  |  |  | 226 | Y11E1 | SPARE
|  | 261 | X11A2 | MC 301 ON (EFU) |  |  |  |  | 227 | Y11E2 | SPARE
|  | 262 | X11A3 | [5 empty] | 228 | Y11E3 | SPARE
|  | 263 | X11A4 | MC 401 ON (X-RAY IONIZER) |  |  |  |  | 229 | Y11E4 | SPARE
|  | 264 | X11A5 | MC 402 ON (X-RAY IONIZER) |  |  |  |  | 230 | Y11E5 | SPARE
|  | 265 | X11A6 | MC 501 ON (SACC) |  |  |  |  | 231 | Y11E6 | SPARE
|  | 266 | X11A7 | MC 502 ON (SACC) |  |  |  |  | 232 | Y11E7 | SPARE
|  | 267 | X11A8 | SR 10 ON (EQ MOTION MC POWER) |  |  |  |  | 233 | Y11E8 | SPARE
|  | 268 | X11A9 | SR 50 ON (SACC MC POWER) |  |  |  |  | 234 | Y11E9 | SPARE
|  | 269 | X11AA | SR 40 ON (X-RAY IONIZER MC POWER) |  |  |  |  | 235 | Y11EA | SPARE
|  | 270 | X11AB | INTERLOCK SR 150 ON (Abnormal Arm Detect) |  |  |  |  | 236 | Y11EB | SPARE
|  | 271 | X11AC | SAFETY PLC CP ON |  |  |  |  | 237 | Y11EC | SPARE
|  | 272 | X11AD | MC CP ON |  |  |  |  | 238 | Y11ED | SPARE
|  | 273 | X11AE | SMPS1 CP ON |  |  |  |  | 239 | Y11EE | SPARE
|  | 274 | X11AF | SMPS1.1 CP ON |  |  |  |  | 240 | Y11EF | SPARE
|  | 275 | X11B0 | GPS MAIN CIRCUIT BREAKER ON |  |  |  |  | 241 | Y11F0 | SPARE
|  | 276 | X11B1 | UPS MAIN CIRCUIT BREAKER ON |  |  |  |  | 242 | Y11F1 | SPARE
|  | 277 | X11B2 | GPS MAIN CIRCUIT BREAKER TRIP |  | B접 / Normal Close |  |  | 243 | Y11F2 | SPARE
|  | 278 | X11B3 | UPS MAIN CIRCUIT BREAKER TRIP |  | B접 / Normal Close |  |  | 244 | Y11F3 | SPARE
|  | 279 | X11B4 | OFF DELAY TIMER ON |  |  |  |  | 245 | Y11F4 | SPARE
|  | 280 | X11B5 | [5 empty] | 246 | Y11F5 | SPARE
|  | 281 | X11B6 | SHUTTER CLOSE_NON CONTACT SWITCH |  |  |  |  | 247 | Y11F6 | SPARE
|  | 282 | X11B7 | [5 empty] | 248 | Y11F7 | SPARE
|  | 283 | X11B8 | [5 empty] | 249 | Y11F8 | SPARE
|  | 284 | X11B9 | [5 empty] | 250 | Y11F9 | SPARE
|  | 285 | X11BA | MUTING SR51 ON |  |  |  |  | 251 | Y11FA | SPARE
|  | 286 | X11BB | [5 empty] | 252 | Y11FB | SPARE
|  | 287 | X11BC | LIGHT CURTAIN NOT DETECTED |  |  |  |  | 253 | Y11FC | SPARE
|  | 288 | X11BD | LIGHT CURTAIN MUTING STATUS |  |  |  |  | 254 | Y11FD | SPARE
|  | 289 | X11BE | EQ SELECT SWITCH AUTO MODE |  |  |  |  | 255 | Y11FE | SPARE
|  | 290 | X11BF | SACC SELECT SWITCH AUTO MODE |  |  |  |  | 256 | Y11FF | SPARE
E-BOX | [6 empty] | ST. No. SACC 사용
15 | AJ65SBTB1-32D1 | 291 | X11C0 | GPS ELECTRONIC BOX FAN(급기) 1~4 ON |  |  | 18 |  | 225 | Y11E0 | SPARE
|  | 292 | X11C1 | GPS ELECTRONIC BOX FAN(배기) 5~8 ON |  |  |  |  | 226 | Y11E1 | SPARE
|  | 293 | X11C2 | UPS ELECTRONIC BOX FAN(급기) 9~12 ON |  |  |  |  | 227 | Y11E2 | SPARE
|  | 294 | X11C3 | UPS ELECTRONIC BOX FAN(배기) 13~16 ON |  |  |  |  | 228 | Y11E3 | SPARE
|  | 295 | X11C4 | E-BOX FRONT(GPS) DOOR OPEN |  |  |  |  | 229 | Y11E4 | SPARE
|  | 296 | X11C5 | E-BOX REAR(UPS) DOOR OPEN |  |  |  |  | 230 | Y11E5 | SPARE
|  | 297 | X11C6 | SMOKE DETECT 01 (GPS EL. BOX) |  | B접 / Normal Close |  |  | 231 | Y11E6 | SPARE
|  | 298 | X11C7 | SMOKE DETECT 02 (UPS EL. BOX) |  | B접 / Normal Close |  |  | 232 | Y11E7 | SPARE
|  | 299 | X11C8 | [5 empty] | 233 | Y11E8 | SPARE
|  | 300 | X11C9 | [5 empty] | 234 | Y11E9 | SPARE
|  | 301 | X11CA | TEMP. INDICATOR 01 OVER (GPS EL. BOX) |  | B접 / Normal Close |  |  | 235 | Y11EA | SPARE
|  | 302 | X11CB | TEMP. INDICATOR 02 OVER (UPS EL. BOX) |  | B접 / Normal Close |  |  | 236 | Y11EB | SPARE
|  | 303 | X11CC | [5 empty] | 237 | Y11EC | SPARE
|  | 304 | X11CD | [5 empty] | 238 | Y11ED | SPARE
|  | 305 | X11CE | TEMP. ALARM RESET SWITCH PUSH 01 (GPS EL. BOX) |  |  |  |  | 239 | Y11EE | SPARE
|  | 306 | X11CF | TEMP. ALARM RESET SWITCH PUSH 01 (UPS EL. BOX) |  |  |  |  | 240 | Y11EF | SPARE
|  | 307 | X11D0 | EMS SWITCH 01 PUSH (OP) |  |  |  |  | 241 | Y11F0 | SPARE
|  | 308 | X11D1 | EMS SWITCH 02 PUSH (LEFT FRONT) |  |  |  |  | 242 | Y11F1 | SPARE
|  | 309 | X11D2 | EMS SWITCH 03 PUSH (RIGHT FRONT) |  |  |  |  | 243 | Y11F2 | SPARE
|  | 310 | X11D3 | EMS SWITCH 04 PUSH (RIGHT BACK) |  |  |  |  | 244 | Y11F3 | SPARE
|  | 311 | X11D4 | EMS SWITCH 05 PUSH (LEFT BACK) |  |  |  |  | 245 | Y11F4 | SPARE
|  | 312 | X11D5 | EMS SWITCH 06 PUSH (INNER LEFT FRONT) |  |  |  |  | 246 | Y11F5 | SPARE
|  | 313 | X11D6 | EMS SWITCH 07 PUSH (INNER RIGHT FRONT) |  |  |  |  | 247 | Y11F6 | SPARE
|  | 314 | X11D7 | EMS SWITCH 08 PUSH (INNER RIGHT BACK) |  |  |  |  | 248 | Y11F7 | SPARE
|  | 315 | X11D8 | EMS SWITCH 09 PUSH (INNER LEFT BACK) |  |  |  |  | 249 | Y11F8 | SPARE
|  | 316 | X11D9 | EMS SWITCH 10 PUSH (SACC) |  |  |  |  | 250 | Y11F9 | SPARE
|  | 317 | X11DA | EMS SWITCH 11 PUSH (INNER SACC) |  |  |  |  | 251 | Y11FA | SPARE
|  | 318 | X11DB | EMS SWITCH 12 PUSH (E-BOX FRONT(UPS)) |  |  |  |  | 252 | Y11FB | SPARE
|  | 319 | X11DC | EMS SWITCH 13 PUSH (E-BOX REAR(GPS)) |  |  |  |  | 253 | Y11FC | SPARE
|  | 320 | X11DD | EMS SWITCH 14 PUSH (ENABLE SWITCH) |  |  |  |  | 254 | Y11FD | SPARE
|  | 321 | X11DE | ENABLE SWITCH GRIP CHECK 01 |  |  |  |  | 255 | Y11FE | SPARE
|  | 322 | X11DF | [5 empty] | 256 | Y11FF | SPARE
E-BOX | [6 empty] | ST. No. SACC 사용
16 | AJ65SBTB1-32D1 | 323 | X11E0 | DOOR 01 OPEN (LEFT FRONT) |  |  | 19 |  | 225 | Y11E0 | SPARE
|  | 324 | X11E1 | DOOR 02 OPEN (RIGHT FRONT) |  |  |  |  | 226 | Y11E1 | SPARE
|  | 325 | X11E2 | DOOR 03 OPEN (RIGHT BACK) |  |  |  |  | 227 | Y11E2 | SPARE
|  | 326 | X11E3 | DOOR 04 OPEN (LEFT BACK) |  |  |  |  | 228 | Y11E3 | SPARE
|  | 327 | X11E4 | DOOR 05 OPEN (SACC LOWER) |  |  |  |  | 229 | Y11E4 | SPARE
|  | 328 | X11E5 | [5 empty] | 230 | Y11E5 | SPARE
|  | 329 | X11E6 | [5 empty] | 231 | Y11E6 | SPARE
|  | 330 | X11E7 | [5 empty] | 232 | Y11E7 | SPARE
|  | 331 | X11E8 | DOOR 01 UNLOCK (LEFT FRONT) |  |  |  |  | 233 | Y11E8 | SPARE
|  | 332 | X11E9 | DOOR 02 UNLOCK (RIGHT FRONT) |  |  |  |  | 234 | Y11E9 | SPARE
|  | 333 | X11EA | DOOR 03 UNLOCK (RIGHT BACK) |  |  |  |  | 235 | Y11EA | SPARE
|  | 334 | X11EB | DOOR 04 UNLOCK (LEFT BACK) |  |  |  |  | 236 | Y11EB | SPARE
|  | 335 | X11EC | DOOR 05 UNLOCK (SACC LOWER) |  |  |  |  | 237 | Y11EC | SPARE
|  | 336 | X11ED | [5 empty] | 238 | Y11ED | SPARE
|  | 337 | X11EE | [5 empty] | 239 | Y11EE | SPARE
|  | 338 | X11EF | [5 empty] | 240 | Y11EF | SPARE
|  | 339 | X11F0 | PC_PROFILE LEFT 1 FAN ON (배기) |  |  |  |  | 241 | Y11F0 | SPARE
|  | 340 | X11F1 | PC_PROFILE LEFT 2 FAN ON (배기) |  |  |  |  | 242 | Y11F1 | SPARE
|  | 341 | X11F2 | PC_PROFILE RIGHT 1 FAN ON (배기) |  |  |  |  | 243 | Y11F2 | SPARE
|  | 342 | X11F3 | PC_PROFILE RIGHT 2 FAN ON (배기) |  |  |  |  | 244 | Y11F3 | SPARE
|  | 343 | X11F4 | [5 empty] | 245 | Y11F4 | SPARE
|  | 344 | X11F5 | [5 empty] | 246 | Y11F5 | SPARE
|  | 345 | X11F6 | [5 empty] | 247 | Y11F6 | SPARE
|  | 346 | X11F7 | [5 empty] | 248 | Y11F7 | SPARE
|  | 347 | X11F8 | ALIVE |  |  |  |  | 249 | Y11F8 | SPARE
|  | 348 | X11F9 | EMERGENCY |  |  |  |  | 250 | Y11F9 | SPARE
|  | 349 | X11FA | NET-READY |  |  |  |  | 251 | Y11FA | SPARE
|  | 350 | X11FB | RESERVED |  |  |  |  | 252 | Y11FB | SPARE
|  | 351 | X11FC | INTERACTIVE #1 |  |  |  |  | 253 | Y11FC | SPARE
|  | 352 | X11FD | INTERACTIVE #2 |  |  |  |  | 254 | Y11FD | SPARE
|  | 353 | X11FE | RESERVED |  |  |  |  | 255 | Y11FE | SPARE
|  | 354 | X11FF | SUB-EMS |  |  |  |  | 256 | Y11FF | SPARE
OUTSIDE SACC | [6 empty] | OUTSIDE SACC
17 | AJ65SBTB1-32D1 | 257 | X1200 | EQ-SACC GATE VALVE OPEN 01 |  |  | 22 | AJ65SBTB1-32T1 | 257 | Y12A0 | SACC GATE VALVE OPEN
|  | 258 | X1201 | EQ-SACC GATE VALVE CLOSE 01 |  |  |  |  | 258 | Y12A1 | SACC GATE VALVE CLOSE
|  | 259 | X1202 | EQ-SACC GATE VALVE OPEN 02 |  |  |  |  | 259 | Y12A2 | SPARE
|  | 260 | X1203 | EQ-SACC GATE VALVE CLOSE 02 |  |  |  |  | 260 | Y12A3 | SPARE
|  | 261 | X1204 | [5 empty] | 261 | Y12A4 | SPARE
|  | 262 | X1205 | [5 empty] | 262 | Y12A5 | SPARE
|  | 263 | X1206 | [5 empty] | 263 | Y12A6 | SPARE
|  | 264 | X1207 | [5 empty] | 264 | Y12A7 | SPARE
|  | 265 | X1208 | [5 empty] | 265 | Y12A8 | PROBE JIG UP
|  | 266 | X1209 | [5 empty] | 266 | Y12A9 | PROBE JIG DOWN
|  | 267 | X120A | [5 empty] | 267 | Y12AA | SPARE
|  | 268 | X120B | [5 empty] | 268 | Y12AB | SPARE
|  | 269 | X120C | [5 empty] | 269 | Y12AC | SPARE
|  | 270 | X120D | [5 empty] | 270 | Y12AD | SPARE
|  | 271 | X120E | [5 empty] | 271 | Y12AE | SPARE
|  | 272 | X120F | [5 empty] | 272 | Y12AF | SPARE
|  | 273 | X1210 | SACC X0 PROBE CARD CHECK |  |  |  |  | 273 | Y12B0 | SPARE
|  | 274 | X1211 | SACC X1 PROBE CARD CHECK |  |  |  |  | 274 | Y12B1 | SPARE
|  | 275 | X1212 | SACC X0 STRETCH POSITION 01 (From/To SACC BUFFER/CASSETTE) |  |  |  |  | 275 | Y12B2 | SPARE
|  | 276 | X1213 | SACC X1 STRETCH POSITION 01 (From/To SACC BUFFER/CASSETTE) |  |  |  |  | 276 | Y12B3 | SPARE
|  | 277 | X1214 | [5 empty] | 277 | Y12B4 | SPARE
|  | 278 | X1215 | [5 empty] | 278 | Y12B5 | SPARE
|  | 279 | X1216 | SACC X0 READY POSITION |  |  |  |  | 279 | Y12B6 | SPARE
|  | 280 | X1217 | SACC X1 READY POSITION |  |  |  |  | 280 | Y12B7 | SPARE
|  | 281 | X1218 | SACC Z1 PROBE CARD GET/PUT POSITION (From/To Chamber) |  |  |  |  | 281 | Y12B8 | SPARE
|  | 282 | X1219 | SACC Z1 SAFETY POSITION (Cart Avoid/RFID Read/Ready Pos.) |  |  |  |  | 282 | Y12B9 | SPARE
|  | 283 | X121A | SACC Z1 PROBE CARD GET/PUT UP POSITION (From/To Probe Jig) |  |  |  |  | 283 | Y12BA | SPARE
|  | 284 | X121B | SACC Z1 PROBE CARD GET/PUT DOWN POSITION (From/To Probe Jig) |  |  |  |  | 284 | Y12BB | SPARE
|  | 285 | X121C | [5 empty] | 285 | Y12BC | SPARE
|  | 286 | X121D | [5 empty] | 286 | Y12BD | SPARE
|  | 287 | X121E | [5 empty] | 287 | Y12BE | SPARE
|  | 288 | X121F | [5 empty] | 288 | Y12BF | SPARE
OUTSIDE SACC
18 | AJ65SBTB1-32D1 | 289 | X1220 | SACC CASSETTE 01 DOWN POSITION
|  | 290 | X1221 | SACC CASSETTE 01 UP POSITION
|  | 291 | X1222 | SACC CASSETTE 02 DOWN POSITION
|  | 292 | X1223 | SACC CASSETTE 02 UP POSITION
|  | 293 | X1224 | SACC CASSETTE 03 DOWN POSITION
|  | 294 | X1225 | SACC CASSETTE 03 UP POSITION
|  | 295 | X1226 | SACC CASSETTE 04 DOWN POSITION
|  | 296 | X1227 | SACC CASSETTE 04 UP POSITION
|  | 297 | X1228 | SACC CASSETTE 05 DOWN POSITION
|  | 298 | X1229 | SACC CASSETTE 05 UP POSITION
|  | 299 | X122A
|  | 300 | X122B
|  | 301 | X122C | SACC BUFFER 1 DOWN POSITION 01(INNER G/V)
|  | 302 | X122D | SACC BUFFER 1 UP POSITION 01(INNER G/V)
|  | 303 | X122E | SACC BUFFER 2 DOWN POSITION 01(INNER G/V)
|  | 304 | X122F | SACC BUFFER 2 UP POSITION 01(INNER G/V)
|  | 305 | X1230 | CASSETTE 01 PROBE CARD CHECK 01(SACC LEFT)
|  | 306 | X1231 | CASSETTE 02 PROBE CARD CHECK 01(SACC LEFT)
|  | 307 | X1232 | CASSETTE 03 PROBE CARD CHECK 01(SACC LEFT)
|  | 308 | X1233 | CASSETTE 04 PROBE CARD CHECK 01(SACC LEFT)
|  | 309 | X1234 | CASSETTE 05 PROBE CARD CHECK 01(SACC LEFT)
|  | 310 | X1235
|  | 311 | X1236 | BUFFER 1 PROBE CARD CHECK 01 (SACC LEFT)
|  | 312 | X1237 | BUFFER 2 PROBE CARD CHECK 01 (SACC LEFT)
|  | 313 | X1238 | CASSETTE 01 PROBE CARD CHECK 02(SACC RIGHT)
|  | 314 | X1239 | CASSETTE 02 PROBE CARD CHECK 02(SACC RIGHT)
|  | 315 | X123A | CASSETTE 03 PROBE CARD CHECK 02(SACC RIGHT)
|  | 316 | X123B | CASSETTE 04 PROBE CARD CHECK 02(SACC RIGHT)
|  | 317 | X123C | CASSETTE 05 PROBE CARD CHECK 02(SACC RIGHT)
|  | 318 | X123D
|  | 319 | X123E | BUFFER 1 PROBE CARD CHECK 02 (SACC RIGHT)
|  | 320 | X123F | BUFFER 2 PROBE CARD CHECK 02 (SACC RIGHT)
OUTSIDE SACC
19 | AJ65SBTB1-32D1 | 321 | X1240 | PROBE CART DETECT 01 (SACC LEFT)
|  | 322 | X1241 | PROBE CART DETECT 02 (SACC RIGHT)
|  | 323 | X1242 | TEMP. INDICATOR OVER (SACC)
|  | 324 | X1243 | TEMP. ALARM RESET SWITCH PUSH (SACC)
|  | 325 | X1244 | SMOKE DETECT (SACC)
|  | 326 | X1245
|  | 327 | X1246 | PROBE JIG F/D CARD CHECK 01 (SACC LEFT)
|  | 328 | X1247 | PROBE JIG F/D CARD CHECK 02 (SACC RIGHT)
|  | 329 | X1248 | PROBE JIG CARD CHECK 01 (SACC LEFT)
|  | 330 | X1249 | PROBE JIG CARD CHECK 02 (SACC RIGHT)
|  | 331 | X124A | PROBE JIG CHECK 01 (SACC LEFT)
|  | 332 | X124B | PROBE JIG CHECK 02 (SACC RIGHT)
|  | 333 | X124C | PROBE JIG UP 01 (SACC LEFT)
|  | 334 | X124D | PROBE JIG DOWN 01 (SACC LEFT)
|  | 335 | X124E | PROBE JIG UP 02 (SACC RIGHT)
|  | 336 | X124F | PROBE JIG DOWN 02 (SACC RIGHT)
|  | 337 | X1250 | SACC CASSETTE 06 DOWN POSITION
|  | 338 | X1251 | SACC CASSETTE 06 UP POSITION
|  | 339 | X1252 | SACC CASSETTE 07 DOWN POSITION
|  | 340 | X1253 | SACC CASSETTE 07 UP POSITION
|  | 341 | X1254 | CASSETTE 06 PROBE CARD CHECK 01 (SACC LEFT)
|  | 342 | X1255 | CASSETTE 07 PROBE CARD CHECK 01 (SACC LEFT)
|  | 343 | X1256 | CASSETTE 06 PROBE CARD CHECK 02 (SACC RIGHT)
|  | 344 | X1257 | CASSETTE 07 PROBE CARD CHECK 02 (SACC RIGHT)
|  | 345 | X1258
|  | 346 | X1259
|  | 347 | X125A
|  | 348 | X125B
|  | 349 | X125C
|  | 350 | X125D
|  | 351 | X125E
|  | 352 | X125F
STAGE BOX
20 | AJ65SBTB1-32D1 | 353 | X1260 | EMS SWITCH 15 (S-BOX FRONT)
|  | 354 | X1261 | EMS SWITCH 16 (S-BOX REAR)
|  | 355 | X1262 | SMOKE DETECT 14 (FRONT S-BOX) |  | B접 / Normal Close
|  | 356 | X1263 | SMOKE DETECT 15 (REAR S-BOX) |  | B접 / Normal Close
|  | 357 | X1264 | TEMP. INDICATOR 14 OVER (FRONT S-BOX) |  | B접 / Normal Close
|  | 358 | X1265 | TEMP. INDICATOR 15 OVER (REAR S-BOX) |  | B접 / Normal Close
|  | 359 | X1266 | TEMP. ALARM RESET SWITCH PUSH (FRONT S-BOX)
|  | 360 | X1267 | TEMP. ALARM RESET SWITCH PUSH (REAR S-BOX)
|  | 361 | X1268 | ELECTRONIC S-BOX FAN(급기) 1~4 ON
|  | 362 | X1269 | ELECTRONIC S-BOX FAN(배기) 5~8 ON
|  | 363 | X126A | ELECTRONIC S-BOX FAN(급기) 9~12 ON
|  | 364 | X126B | ELECTRONIC S-BOX FAN(배기) 13~16 ON
|  | 365 | X126C | S-BOX FRONT DOOR OPEN
|  | 366 | X126D | S-BOX REAR DOOR OPEN
|  | 367 | X126E | S-BOX GPS CIRCUIT BREAKER ON
|  | 368 | X126F | S-BOX UPS CIRCUIT BREAKER ON
|  | 369 | X1270 | S-BOX GPS CIRCUIT BREAKER TRIP
|  | 370 | X1271 | S-BOX UPS CIRCUIT BREAKER TRIP
|  | 371 | X1272
|  | 372 | X1273
|  | 373 | X1274
|  | 374 | X1275
|  | 375 | X1276
|  | 376 | X1277
|  | 377 | X1278
|  | 378 | X1279
|  | 379 | X127A
|  | 380 | X127B
|  | 381 | X127C
|  | 382 | X127D
|  | 383 | X127E
|  | 384 | X127F
B RATE | 2 | [5 empty] | B RATE | 4
MODE | 3 | [5 empty] | MODE | 1
ANALOG INPUT | [6 empty] | SW ON↑ | 1, 3, 5
RS-232 COMM.
STATION No. | Part No. | 번호 | I/O | Description |  |  | STATION No. | Part No. | 번호 |  |  | Description
Profile I/O Pannel
25 | AJ65VBTCU-68ADVN | 1 | CH1 | CDA 01 | O | ISE20B | 33 | AJ65BT-R2N | 1 | RS-232 |  | O2 01_EQ
|  | 2 | CH2 | CDA 02 | O | ISE20B
|  | 3 | CH3 | CDA 03 | O | ISE20B | B RATE | 4
|  | 4 | CH4 | FIXTURE 01 | O | ISE20B | MODE | 1
|  | 5 | CH5 | FIXTURE 02 | O | ISE20B | SW ON↑ | 1, 3, 5
|  | 6 | CH6 | ISOLATOR 01 | O | ISE20B | RS-232 COMM.
|  | 7 | CH7 | ISOLATOR 02 | O | ISE20B | STATION No. | Part No. | 번호 |  |  | Description
|  | 8 | CH8 | SHUTTER | O | ISE20B
[7 empty] | 34 | AJ65BT-R2N | 1 | RS-232 |  | O2 02_EQ
B RATE | 2
MODE | 3 | [5 empty] | B RATE | 4
ANALOG INPUT | [6 empty] | MODE | 1
[7 empty] | SW ON↑ | 1, 3, 5
STATION No. | Part No. | 번호 | I/O | Description |  |  | RS-232 COMM.
Profile I/O Pannel | [6 empty] | STATION No. | Part No. | 번호 |  |  | Description
26 | AJ65VBTCU-68ADVN | 1 | CH1 | PROBE MODULE_1 | O | ISE20B
|  | 2 | CH2 | PROBE MODULE_2 | O | ISE20B | 35 | AJ65BT-R2N | 1 | RS-232 |  | O2 03_SACC
|  | 3 | CH3 | PROBE MODULE_3 | O | ISE20B
|  | 4 | CH4 | PROBE MODULE_4 | O | ISE20B
|  | 5 | CH5 | PROBE MODULE_5 | O | ISE20B
|  | 6 | CH6 | ZERO POSITION_1 |  | ISE20B
|  | 7 | CH7 | ZERO POSITION_2 |  | ISE20B
|  | 8 | CH8 | ZERO POSITION_3 |  | ISE20B
B RATE | 2
MODE | 3
ANALOG INPUT
STATION No. | Part No. | 번호 | I/O | Description
HI-BOX
27 | AJ65VBTCU-68ADVN | 1 | CH1 | ZERO POSITION_4 |  | ISE20B
|  | 2 | CH2 | ZERO POSITION_5 |  | ISE20B
|  | 3 | CH3 | PLATE BLOW_VACUUM 01 | O | ZSE20BF
|  | 4 | CH4 | VACUUM 01 |  | ZSE20B
|  | 5 | CH5 | SPARE |  | ZSE20B
|  | 6 | CH6 | SACC | O | ISE20B
|  | 7 | CH7 | SPARE
|  | 8 | CH8 | SPARE
B RATE | 4
MODE | 3
ANALOG INPUT
STATION No. | Part No. | 번호 | I/O | Description
HI-BOX
30 | AJ65VBTCU-68ADIN | 1 | CH1 | SPARE |  | OST-JY100
|  | 2 | CH2 | SPARE |  | OST-JY100
|  | 3 | CH3 | SPARE |  | OST-JY100
|  | 4 | CH4 | SPARE |  | OXY-SEN
|  | 5 | CH5 | SPARE |  | OXY-SEN
|  | 6 | CH6 | SPARE |  | OXY-SEN
|  | 7 | CH7 | SPARE
|  | 8 | CH8 | SPARE
B RATE | 4
MODE | 3
ANALOG INPUT
STATION No. | Part No. | 번호 | I/O | Description
In Cahmber(LOADER MOUDLE)
31 | AJ65VBTCU-68ADIN | 1 | CH1 | SPARE |  | SK-050/SK-1000
|  | 2 | CH2 | SPARE
|  | 3 | CH3 | SPARE
|  | 4 | CH4 | SPARE
|  | 5 | CH5 | SPARE
|  | 6 | CH6 | SPARE
|  | 7 | CH7 | SPARE
|  | 8 | CH8 | SPARE
B RATE | 4
SW ON | 3
ANALOG INPUT
STATION No. | Part No. | 번호 | I/O | Description
In Chamber(Lift Pin)
41 | NU-CL1 | 1 | ID 01 | LIFT GLASS CHECK 01
|  | 2 | ID 02 | LIFT GLASS CHECK 02
|  | 3 | ID 03 | EDGE GLASS CHECK 01
|  | 4 | ID 04 | EDGE GLASS CHECK 02
|  | 5 | ID 05 | EDGE GLASS CHECK 03
|  | 6 | ID 06 | EDGE GLASS CHECK 04
통신모듈 사용X
통신TYPE GLASS SENSOR 사용X
미사용